Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 06 64 00 - PLASTIC PANELING

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes glass-fiber reinforced plastic (FRP) wall paneling and trim accessories.

Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 10 26 00 "Wall and Door Protection" for corner guards installed over plastic paneling.

ACTION SUBMITTALS

Product Data:  For each type of product indicated.

LEED Submittals (Projects authorized for LEED certification only):

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements selected in Part 2 for adhesives and sealants.

Product Data for Credit IEQ 4.1:  For [adhesives] [and] [sealants], documentation including printed statement of VOC content.

"Product Data for Credit IEQ 4.4" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS.

Product Data for Credit IEQ 4.4:  For laminating adhesive[ and composite wood products] used in factory-laminated plastic panels, documentation indicating that product contains no urea formaldehyde.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

Laboratory Test Reports for Credit IEQ 4:  For [adhesives] [sealants] [and] [wall panels], documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Samples for Verification:  For plastic paneling and trim accessories, in manufacturer's standard sizes.

QUALITY ASSURANCE

Source Limitations:  Obtain plastic paneling and trim accessories from single manufacturer.

Products with flame-spread index of 25 or less are readily available and are usually designated Class A.  Most other products have flame-spread index of 200 or less and are designated Class C.

Surface-Burning Characteristics:  As determined by testing identical products according to ASTM E 84 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

Flame-Spread Index:  200 or less.

Smoke-Developed Index:  450 or less.

Retain second option in subparagraph below if FMG approval is required for insurance purposes.

Testing Agency:  [Acceptable to authorities having jurisdiction] [FM Approvals] [UL].

PROJECT CONDITIONS

Environmental Limitations:  Do not deliver or install plastic paneling until spaces are enclosed and weathertight and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the remainder of the construction period.

PRODUCTS

PLASTIC SHEET PANELING

General:  Gelcoat-finished, glass-fiber reinforced plastic panels complying with ASTM D 5319.

Basis-of-Design Product:  Subject to compliance with requirements, provide Standard FRP (P 100 White) by Marlite or comparable product by one of the following:

Marlite; Product [Standard FRP]: www.marlite.com

Fibertech; Product : www.fibertech.net

Fiberglass Specialties, Inc.; Product : www.fiberglassspecialties.com

Kwalu LLC; Product: [Rigid Wall Covering]: www.kwalu.com

Substitutions:  See Section 01 60 00 - Product Requirements.

Consider the following Subparagraph if the project is to be LEED certified

Retain "Low-Emitting Materials" Subparagraph below if required for LEED for Schools.

Low-Emitting Materials:  Paneling shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Verify availability with manufacturers selected before retaining a thickness in first subparagraph below.  3/32 inch is slightly greater than 0.09 inch (2.3 mm).

Nominal Thickness:  Not less than  2.3 mm].

Surface Finish:      Match Architect's sample .

Color:    Match Architect's sample .

FACTORY-LAMINATED PLASTIC PANELS

General:  Gelcoat-finished, glass-fiber reinforced plastic panels complying with ASTM D 5319, laminated to [plywood] [oriented strand board] [fire-retardant particleboard] [gypsum board] [high-impact gypsum board] [moisture- and mold-resistant gypsum board].

Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Marlite; Product <Insert Note Here>: www.marlite.com

Fibertech; Product <Insert Note Here>: www.fibertech.net

Fiberglass Specialties, Inc.; Product <Insert Note Here>: www.fiberglassspecialties.com

Kwalu; Product <Insert Note Here>: www.kwalu.com

Substitutions:  See Section 01 60 00 - Product Requirements.

Consider the following Subparagraph if the project is to be LEED certified

Retain "Low-Emitting Materials" Subparagraph below if required for LEED for Schools.

Low-Emitting Materials:  Paneling shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Verify availability with manufacturers selected before retaining a thickness in first subparagraph below.  3/32 inch is slightly greater than 0.09 inch (2.3 mm).

Glass-Fiber Reinforced Plastic Panel Nominal Thickness:  Not less than [ 0.76 mm] [ 1.3 mm] [ 1.9 mm] [ 2.3 mm].

Surface Finish:  [Smooth] [Molded pebble texture] [Smooth surface with filled grooves at  102 mm o.c. to resemble tile] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Color:  [White] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Plywood:  DOC PS 1, Exterior B-C, [ 6.4 mm] [ 9.5 mm] [ 12.7 mm] [ 15.9 mm] [ 19.1 mm] thick.

Oriented Strand Board:  DOC PS 2, [ 6.4 mm] [ 9.5 mm] [ 12.7 mm] [ 19.1 mm] thick.

Particleboard described in first subparagraph below contains urea formaldehyde.  Delete if low-emitting materials are required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4.  It complies with requirements for Class I (Class A) finish but not requirements of model codes for use where noncombustible materials are required.

Fire-Retardant Particleboard:  Product complying with ANSI A208.1, Grade M-S, except for modulus of rupture; with flame-spread index of 25 or less per ASTM E 84; and [ 9.5 mm] [ 12.7 mm] thick.

Gypsum Board:  ASTM C 1396/C 1396M, [Regular,  12.7 mm] [Type X,  15.9 mm].

First subparagraph below specifies National Gypsum's "High-Impact Brand Wallboard" gypsum board.

High-Impact Gypsum Board:  ASTM C 1396/C 1396M,  15.9 mm, with Type X core, and [ 0.254-mm] [ 0.508-mm] [ 0.762-mm] [ 2.057-mm] plastic film laminated to back side for greater resistance to through penetration (impact resistance).

Examples of moisture- and mold-resistant panels include USG's "SHEETROCK Brand HUMITEK" panels and National Gypsum's "XP Wallboard," which are both paper faced; and Georgia-Pacific's "DensArmor Interior Guard" panels, which have coated glass-mat facings.

Moisture- and Mold-Resistant Gypsum Board:  ASTM C 1396/C 1396M or ASTM C 1178/C 1178M,  15.9 mm, Type X, with moisture- and mold-resistant core and surfaces.

Consider the following Subparagraph if the project is to be LEED certified

Retain first option in "Laminating Adhesive" Subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4.  Retain second option if required for LEED for Schools.

Laminating Adhesive:  Manufacturer's standard adhesive that is recommended by AWI/AWMAC to suit application.

ACCESSORIES

Retain one of first two paragraphs below if using trim.  Delete "outside corners" option in either paragraph if using corner guards specified in Section 102600 "Wall and Door Protection" instead of using outside corner trim.  Product in first paragraph is available only for plastic sheet paneling and factory-laminated panels with 3/8-inch- (9.5-mm-) thick backing.

Trim Accessories:  Manufacturer's standard one-piece vinyl extrusions designed to retain and cover edges of panels.  Provide division bars, inside corners, outside corners, and caps as needed to conceal edges.

Color:   Match panels   .

Trim Accessories:  Manufacturer's standard two-piece, snap-on vinyl extrusions designed to cover edges of panels.  Provide division bars, inside corners,[ outside corners,] and caps as needed to conceal edges.

Color:   Match panels   .

Exposed Fasteners:  Nylon drive rivets recommended by panel manufacturer.

Concealed Mounting Splines:  Continuous, H-shaped aluminum extrusions designed to fit into grooves routed in edges of factory-laminated panels and to be fastened to substrate.

Adhesive:  As recommended by plastic paneling manufacturer.

Consider the following 2 Subparagraphs if the project is to be LEED certified

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1.  VOC content limit is that for gypsum board and panel adhesive.

Adhesive shall have a VOC content of 50  g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools.

Adhesive shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Manufacturers recommend the use of sealant with trim accessories in high-moisture or wet areas.  Sealant can also be used with factory-laminated panels without trim in areas where moisture and wetting are not a concern.

Sealant:  Single-component, mildew-resistant, neutral-curing silicone   sealant recommended by plastic paneling manufacturer and complying with requirements in Section 07 92 00 "Joint Sealants."

Consider the following 2 Subparagraphs if the project is to be LEED certified

Retain first subparagraph below if required for LEED-NC, LEED-CI or LEED-CS Credit IEQ 4.1.

Sealant shall have a VOC content of 250  g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools.

Sealant shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

EXECUTION

EXAMINATION

Examine substrates and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Retain any or all of first three paragraphs below for adhesive application; first two are primarily for renovation work.

Remove wallpaper, vinyl wall covering, loose or soluble paint, and other materials that might interfere with adhesive bond.

Prepare substrate by sanding high spots and filling low spots as needed to provide flat, even surface for panel installation.

Clean substrates of substances that could impair bond of adhesive, including oil, grease, dirt, and dust.

Manufacturers' recommendations for conditioning vary.  Marlite recommends 48 hours; Kemlite and Nudo recommend 24 hours.

Condition panels by unpacking and placing in installation space before installation according to manufacturer's written recommendations.

Lay out paneling before installing.  Locate panel joints [where indicated] [to provide equal panels at ends of walls not less than half the width of full panels] [so that trimmed panels at corners are not less than 300 mm wide].

Mark plumb lines on substrate at [trim accessory] [panel joint] locations for accurate installation.

Locate [trim accessories] [panel joints] to allow clearance at panel edges according to manufacturer's written instructions.

INSTALLATION

Install plastic paneling according to manufacturer's written instructions.

Retain one of first two paragraphs below to suit installation method required for substrate.

Install panels in a full spread of adhesive.

Install panels with fasteners.  Layout fastener locations and mark on face of panels so that fasteners are accurately aligned.

Drill oversized fastener holes in panels and center fasteners in holes.

Apply sealant to fastener holes before installing fasteners.

Retain first paragraph below in addition to one of last two paragraphs above if required for factory-laminated panels.

Install factory-laminated panels using concealed mounting splines in panel joints.

Install trim accessories with [adhesive] [and] [nails] [or] [staples].[  Do not fasten through panels.]

Retain first paragraph below if using sealant with trim accessories.  Manufacturers recommend the use of sealant in high-moisture or wet areas.

Fill grooves in trim accessories with sealant before installing panels and bed inside corner trim in a bead of sealant.

Usually retain first paragraph below whether trim accessories are used or not.  Delete if not applicable.

Maintain uniform space between panels and wall fixtures.  Fill space with sealant.

Retain first paragraph below if installing panels without trim accessories.

Maintain uniform space between adjacent panels and between panels and floors, ceilings, and fixtures.  Fill space with sealant.

Remove excess sealant and smears as paneling is installed.  Clean with solvent recommended by sealant manufacturer and then wipe with clean dry cloths until no residue remains.

END OF SECTION 06 64 00