University of Houston Master Construction Specifications
Insert Project Name

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 12 21 13 - HORIZONTAL LOUVER BLINDS
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

B. The Contractor's attention is specifically directed, but not limited, to the following documents for additional requirements:

1. Uniform General Conditions for Construction Contracts, State of Texas, 2010 (UGC).

2. The University of Houston’s Supplemental General Conditions and Special Conditions for Construction.
1.2 SUMMARY

A. Section Includes:

1. Horizontal louver blinds with aluminum  slats.

B. Related Requirements:

1. Section 06 10 53 "Miscellaneous Rough Carpentry" for wood blocking and grounds for mounting horizontal louver blinds and accessories.

1.3 ACTION SUBMITTALS

A. Product Data:  For each type of product.

B. Shop Drawings:  Show fabrication and installation details for horizontal louver blinds.

C. Samples for Initial Selection:  For each type and color of horizontal louver blind.

1. Include similar Samples of accessories involving color selection.

D. Samples for Verification:  For each type and color of horizontal louver blind indicated.

1. Slat:  Not less than 12 inches (300 mm) long.

2. Horizontal Louver Blind:  Full-size unit, not less than 16 inches (400 mm) wide by 24 inches (600 mm) long.

3. Valance:  Full-size unit, not less than 12 inches (300 mm) wide.

E. Window-Treatment Schedule:  For horizontal louver blinds.  Use same designations indicated on Drawings.

1.4 INFORMATIONAL SUBMITTALS

A. Product Certificates:  For each type of horizontal louver blind.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance Data:  For horizontal louver blinds to include in maintenance manuals.

1.6 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Horizontal Louver Blinds:  Full-size units equal to 5 percent of quantity installed for each size, color, texture, pattern, and gloss indicated, but no fewer than  one unit.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver horizontal louver blinds in factory packages, marked with manufacturer, product name, and location of installation using same designations indicated on Drawings.

1.8 FIELD CONDITIONS

A. Environmental Limitations:  Do not install horizontal louver blinds until construction and wet and finish work in spaces, including painting, is complete and dry and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

B. Field Measurements:  Where horizontal louver blinds are indicated to fit to other construction, verify dimensions of other construction by field measurements before fabrication and indicate measurements on Shop Drawings.  Allow clearances for operating hardware of operable glazed units through entire operating range.  Notify Architect of installation conditions that vary from Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

A. Source Limitations:  Obtain horizontal louver blinds from single source from single manufacturer.

2.2 HORIZONTAL LOUVER BLINDS, ALUMINUM SLATS

A. Basis-of-Design Product:  Subject to compliance with requirements, provide  Hunter Douglas Contract model CE 60, or comparable product by one of the following:

1. Levolor Contract; a Newell Rubbermaid company, Riviera Contract.

2. Springs Window Fashions, Bali S3000.
3. Substitutions:  See Section 01 25 00 - Substitution Procedures.

B. Slats:  Aluminum; alloy and temper recommended by producer for type of use and finish indicated; with crowned profile and radius corners.

1. Width:   1 inch (25 mm)  .

2. Thickness:   Not less than 0.006 inch (0.15 mm)  .

3. Spacing:  Manufacturer's standard .

4. Finish:  [Ionized antistatic, dust-repellent, baked polyester finish]  .

C. Headrail:  Formed steel or extruded aluminum; long edges returned or rolled.  Headrails fully enclose operating mechanisms on three sides.

1. Capacity:  One blind  per headrail unless otherwise indicated.

2. Ends:   Capped or plugged .

3. Manual Lift Mechanism:

a. Lift-Cord Lock:  Variable; stops lift cord at user-selected position within blind full operating range .

b. Operator:  Extension of lift cord(s) through lift-cord lock mechanism to form cord pull.

4. Manual Tilt Mechanism:  Enclosed worm-gear mechanism and linkage rod that adjusts ladders.

a. Tilt:  Full.

b. Operator:  Clear-plastic wand   .

c. Over-Rotation Protection:  Manufacturer's detachable operator or slip clutch to prevent over rotation of gear.

5. Manual Lift-Operator and Tilt-Operator Lengths:    Length required to extend to 48 inches (1219 mm) above floor level when blind is fully closed  .

6. Manual Lift-Operator and Tilt-Operator Locations:  Manufacturer's standard       unless otherwise indicated.

D. Bottom Rail:  Formed-steel or extruded-aluminum tube that secures and protects ends of ladders and lift cords and has plastic- or metal-capped ends.

1. Type:  Manufacturer's standard   .

E. Lift Cords:  Manufacturer's standard braided cord.

F. Ladders:  Evenly spaced across headrail at spacing that prevents long-term slat sag.

1. Type:  Braided cord   .

G. Valance:  Two slats   .

H. Mounting Brackets:  With spacers and shims required for blind placement and alignment indicated.

1. Type:       As indicated .

2. Intermediate Support:  Provide intermediate support brackets to produce support spacing recommended by blind manufacturer for weight and size of blind.

I. Hold-Down Brackets and Hooks or Pins:  Manufacturer's standard.

J. Colors, Textures, Patterns, and Gloss:

1. Slats:    As selected by Architect from manufacturer's full range  .

2. Components:  Provide rails, cords, ladders, and materials exposed to view matching or coordinating with slat color unless otherwise indicated .

2.3 HORIZONTAL LOUVER BLIND FABRICATION

A. Product Safety Standard:  Fabricate horizontal louver blinds to comply with WCMA A 100.1 including requirements for corded, flexible, looped devices; lead content of components; and warning labels.

B. Unit Sizes:  Fabricate units in sizes to fill window and other openings as follows, measured at 74 deg F (23 deg C):

1. Between (Inside) Jamb Installation:  Width equal to jamb-to-jamb dimension of opening in which blind is installed less 1-1/2" inch (6 mm)es per side or 3 inch (13 mm) es total, plus or minus 1/8 inch (3.1 mm).  Length equal to head-to-sill dimension of opening in which blind is installed less 1/4 inch (6 mm), plus or minus 1/8 inch (3.1 mm).

C. Concealed Components:  Non-corrodible or corrosion-resistant-coated materials.

1. Lift-and-Tilt Mechanisms:  With permanently lubricated moving parts.

D. Mounting and Intermediate Brackets:  Designed for removal and reinstallation of blind without damaging blind and adjacent surfaces, for supporting blind components, and for bracket positions and blind placement indicated.

E. Installation Fasteners:  No fewer than two fasteners per bracket, fabricated from metal noncorrosive to brackets and adjoining construction; type designed for securing to supporting substrate; and supporting blinds and accessories under conditions of normal use.

F. Color-Coated Finish:

1. Metal:  For components exposed to view, apply manufacturer's standard baked finish complying with manufacturer's written instructions for surface preparation including pretreatment, application, baking, and minimum dry film thickness.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, operational clearances,  and other conditions affecting performance.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Install horizontal louver blinds level and plumb, aligned and centered on openings, and aligned with adjacent units according to manufacturer's written instructions.

1. Locate so exterior slat edges are not closer than  2 inches (51 mm)  from interior faces of glass and not closer than  1-1/2 inches (38 mm)  from interior faces of glazing frames through full operating ranges of blinds.

2. Install mounting and intermediate brackets to prevent deflection of headrails.

3. Install with clearances that prevent interference with adjacent blinds, adjacent construction, and operating hardware of glazed openings, other window treatments, and similar building components and furnishings.

3.3 ADJUSTING

A. Adjust horizontal louver blinds to operate free of binding or malfunction through full operating ranges.

3.4 CLEANING AND PROTECTION

A. Clean horizontal louver blind surfaces after installation according to manufacturer's written instructions.

B. Provide final protection and maintain conditions in a manner acceptable to manufacturer and Installer and that ensures that horizontal louver blinds are without damage or deterioration at time of Substantial Completion.

C. Replace damaged horizontal louver blinds that cannot be repaired in a manner approved by Architect before time of Substantial Completion.

END OF SECTION 12 21 13
AE Project #: <%Project Number%> 
Horizontal Louver Blinds
12 21 13 - 1
Revision Date: 01/29/2018

