## Sheet1
UNIVERSITY OF HOUSTON OWNERS DESIGN CRITERIA MASTER SPECIFICATIONS REVISION LOG
Minor formatting changes are not included.
REV # | SECTION NUMBER | SECTION TITLE | PARAGRAPH ID | REVISION DESCRIPTION | REVISION DATE (MM/DD/YY) | REVISER
1 | 07 42 13 | Formed Metal Wall Panels | 1.7.C | Added requirement regarding single source paint supplier. | 2011-08-24 | JL
2 | 22 10 20 | Plumbing Piping and Accessories |  | New | 2011-01-03 | JL
| 22 20 00 | Lab Air Comprs and Vacuum Pumping Syst |  | New | 2011-01-03 | JL
| 22 30 00 | Plumbing Fixtures and Trim |  | New | 2011-01-03 | JL
| 22 50 00 | Fuel Oil Piping |  | New | 2011-01-03 | JL
| 22 50 10 | Fuel Oil Storage Tanks |  | New | 2011-01-03 | JL
| 22 70 00 | DI Water Piping |  | New | 2011-01-03 | JL
| 23 20 10 | HVAC Piping Valves and Accessories |  | New | 2011-01-03 | JL
| 23 30 00 | HVAC Pumps |  | New | 2011-01-03 | JL
| 23 34 43 | Laboratory High Plume Exhaust Fans |  | New | 2011-01-03 | JL
| 23 36 00 | HVAC Terminal Units |  | New | 2011-01-03 | JL
| 23 57 10 | Clean Steam Generators and Accessories |  | New | 2011-01-03 | JL
| 23 57 19 | Heat Exchanges |  | New | 2011-01-03 | JL
| 23 62 13 | Air Cooled Split- System Air Condit Units |  | New | 2011-01-03 | JL
| 23 64 16 | Centrifugal Chillers |  | New | 2011-01-03 | JL
| 23 65 00 | Packaged Steel Cooling Towers |  | New | 2011-01-03 | JL
| 23 72 23 | Energy Recovery Units |  | New | 2011-01-03 | JL
| 23 82 20 | Fans, Intakes and Relief Vents |  | New | 2011-01-03 | JL
| 23 82 39 | Electric Unit Heaters |  | New | 2011-01-03 | JL
| 26 05 33 | Electrical Raceways |  | New | 2011-01-03 | JL
| 26 09 23 | Lighting Control Devices |  | New | 2011-01-03 | JL
| 26 09 26 | Low Voltage Lighting Controls |  | New | 2011-01-03 | JL
| 26 09 33 | Central Dimming Systems |  | New | 2011-01-03 | JL
| 26 11 16 | Secondary Unit Substations |  | New | 2011-01-03 | JL
| 26 12 19 | Medium Voltage Pad-Mounted Transformers |  | New | 2011-01-03 | JL
| 26 22 00 | Low Voltage Transformers |  | New | 2011-01-03 | JL
| 26 24 16 | Panelboards |  | New | 2011-01-03 | JL
| 26 27 19 | Elevator Equipment Provisions |  | New | 2011-01-03 | JL
| 26 28 17 | Enclosed Circuit Breakers |  | New | 2011-01-03 | JL
| 26 33 05 | Battery Emergency Power Supply |  | New | 2011-01-03 | JL
| 26 41 13 | Lightning Protection for Structures |  | New | 2011-01-03 | JL
| 26 51 00 | Interior Lighting |  | New | 2011-01-03 | JL
| 26 56 00 | Exterior Lighting |  | New | 2011-01-03 | JL
| 28 31 03 | Addressable Fire Alarm System |  | New | 2011-01-03 | JL
| 31 63 29 | Drilled Concrete Piers (Caissons) |  | New | 2011-01-03 | JL
3 | 28 23 00 | Video Surveillance | 1.6, 2.1A, 2.2, and 2.4 | Model and reference revisions | 2012-04-23 | JL
4 | 006000-PAIF | Part Accessory Inventory Form | - | New | 2012-07-02 | JL per Don Martin
5 | 00 73 00 | Supplemental General Conditions | - | Link and form have changed | 2012-07-02 | JL
6 | 00 15 00 | Temp Facilities and Controls | 3.4.E | Tree Protection Zone definition | 2012-07-02 | JL
7 | 00 81 13 | Hollow Metal Doors and Frames | 2.3 and 2.4 | Gages added; galvanizing reqmts | 2012-07-02 | JL
8 | 09 68 13 | Carpet | - | Replaces 09 68 13 and 09 68 16 | 2012-07-02 | Jl per Christa Howard
9 | 21 12 00 | Fire Protection Systems | 1.2.B.3 | Deleted FM reqmts. | 2012-07-02 | JL per Joe Tremont
10 | 21 12 00 | Fire Protection Systems | 1.3.B.6 | Changed State Bd of Insur for UHFM | 2012-07-02 | JL per Joe Tremont
11 | 21 12 00 | Fire Protection Systems | 2.5.P | Deleted ref to flexible connectns | 2012-07-02 | JL per Joe Tremont
12 | 21 13 13 | Wet Pipe Fire Sprinkler | 1.3.A.9 | Changed to 10% safety factor | 2012-07-02 | JL per Joe Tremont
13 | 21 13 13 | Wet Pipe Fire Sprinkler | 1.5.A | Deleted "UH insurer" | 2012-07-02 | JL per Joe Tremont
14 | 21 13 13 | Wet Pipe Fire Sprinkler | 1.5.C | Changed to 10% safety factor | 2012-07-02 | JL per Joe Tremont
15 | 21 13 18 | Pre-action Fire Sprinkler | Part 2 | Deltd Vik. Firecycle as basis of design | 2012-07-02 | JL per Joe Tremont
16 | 21 13 18 | Pre-action Fire Sprinkler | 3.3 | Changed fire syst psi limits | 2012-07-02 | JL per Joe Tremont
17 | 21 13 16 | Dry Pipe Fire Sprinkler | 1.3.A.5 | Deleted, section renumbered | 2012-07-02 | JL per Joe Tremont
18 | 28 31 00 | Address.Device Fire Alarm | 1.4.P | Compliance standards revised | 2012-07-02 | JL per Joe Tremont
19 | 26 56 00 | Exterior Lighting | 2.1.I.3 | Fuses at conductors | 2012-07-02 | JL
20 | 26 56 00 | Exterior Lighting | 2.1.J.3 | Silicone wire nuts at wet locations | 2012-07-02 | JL
21 | 31 10 13 | Site Preparation | 3.2.A | Tree Protection Zone definition | 2012-07-02 | JL
22 | 31 31 16 | Termite Control | - | New | 2012-07-02 | JL
23 | 33 10 00 | Water Distribution | 2.5 | "Smart" metering language added | 2013-01-22 | Pending M. Burriello rvw
24 | 01 10 00 | Summary | 1.2.A.8 | Added coverage of salvage requirements | 2013-01-22 | JL
25 | 01 10 00 | Summary | 1.10 | Salvage Requirements | 2013-01-22 | JL
26 | 23 06 06 | BACNET Building Automation System | 1.2.C.2 | Added coverage of "smart" meters | 2013-01-22 | Pending M. Burriello rvw
27 | 23 22 30 | Steam and Steam Condensate Specialties | 1.02.17 | Added coverage of "smart" meters | 2013-01-22 | Pending M. Burriello rvw
28 | 26 27 01 | Electrical Service Entrance | 2.05.B&C | "Smart" metering language added | 2013-01-22 | Pending M. Burriello rvw
29 | 09 51 13 | Acoustic Panel Ceiling | 2.2 | Update recycled content data | 2013-07-29 | Jl per Christa Howard
30 | 09 65 19 | Resilient Tile Flooring | 2.5 | Add linoleum to the list of approved types | 2013-07-29 | Jl per Christa Howard
31 | 14 24 00 | Hydraulic Elevators | 2.04.C | Dry-type hydraulic elev. motors preferred. | 2013-07-29 | JL per R Ahurkar
32 | 21 12 00 | Fire Protection Systems | 1.4.A.2 | Regarding RME requirements | 2013-07-29 | JL per Joe Tremont
33 | 21 12 00 | Fire Protection Systems |  | Inclusion of Post Indicator Valves | 2013-07-29 | JL per Joe Tremont
34 | 21 12 00 | Fire Protection Systems |  | Update NFPA code version: NFPA 2001 Clean Agent Fire Extinguishing Systems | 2013-07-29 | JL per Joe Tremont
35 | 21 13 13 | Wet Pipe Fire Protection Systems | 1.2, 1.3, 1.5 | Clarify 10-psi or 10% safety factor, whichever is greater | 2013-07-29 | JL per Joe Tremont
36 | 23 06 06 | BACnet | Various | Update temperature, networking, hardware and software requirements | 2013-07-29 | JL per M Burriello; approved earlier in 2013
37 | 23 22 30 | Steam and Steam Condensate Specialties | 2.03.O | Add Onicon steam vortex flow meters to apprvd products | 2013-07-29 | JL per M Burriello; approved earlier in 2013
38 | 28 31 00 | Addressable Device Fire Alarm System | 1.4 various | Terminology and reference updates | 2013-07-29 | JL per Joe Tremont
39 | 28 31 00 | Addressable Device Fire Alarm System | 3.6.d.1.i & 3.6.d.4.d | ADS (acoustically distinguishable space) | 2014-01-29 | JL per Joe Tremont
40 | 22 00 00 | Lab Air Compressors & Vacuum Pumping Syst | 2.1 | Clarified where Grade "D" air quality must be used and requires pre-approvals | 2014-07-24 | JL, per EHS
41 | 23 20 10 | HVAC Piping Valves & Access: Materials | 2.1 G 5&6 | Added notice regarding lead-free materials | 2014-07-24 | JL, per Code
42 | 23 20 10 | HVAC Piping Valves & Access: Materials | 2 | Kitz and BASF are added in several categories as approved manufacturers |  | JL, per FM/core team review
43 | 22 30 00 | Plumbing Fixtures and Trim | 2.1 | Added notice regarding lead-free materials | 2014-07-24 | JL, per Code
44 | 08 14 16 | Flush Wood Doors | '- | Deleted references to particleboard |  | Conflicts with DG
45 | 22 30 00 | Plumbing Fixtures and Trim | 1.3.4 | Added low intensity use Sloan flushometer | 2015-07-29 | Per J Jenkins and D Williams
46 | 23 06 06 | BACNET | 1.7.C | 5 years’ experience required | 2015-07-29 | Per J Jenkins and D Williams
47 | 23 06 06 | BACNET | 1.7.G | deleted requirement requiring identicalness and same manufacturer | 2015-07-29 | Per J Jenkins and D Williams
48 | 23 06 06 | BACNET | 1.9.D and E | 1.9 D and E: Allows for simplified legend and schedules | 2015-07-29 | Per J Jenkins and D Williams
49 | 23 06 06 | BACNET | 1.9.E.7 | 1.9 E7 changes to sequence of operations | 2015-07-29 | Per J Jenkins and D Williams
50 | 23 06 06 | BACNET | 1.9.F.2 | 1.9 F2 changes to O&M requirements | 2015-07-29 | Per J Jenkins and D Williams
51 | 23 06 06 | BACNET | 1.12 | 1.12 eliminated redundant requirements | 2015-07-29 | Per J Jenkins and D Williams
52 | 23 06 06 | BACNET | 2.1 | 2.1 updated vendor list | 2015-07-29 | Per J Jenkins and D Williams
53 | 23 06 06 | BACNET | 2.4 | 2.4 extensive changes | 2015-07-29 | Per J Jenkins and D Williams
54 | 23 06 06 | BACNET | 2.5 | 2.5 password section deleted | 2015-07-29 | Per J Jenkins and D Williams
55 | 23 06 06 | BACNET | 2.11 | Refrigerant Vapor Detaction section replaced by Refrigerant leak detection monitors section | 2015-07-29 | Per J Jenkins and D Williams
56 | 23 06 06 | BACNET | 2.16 | 2.16 Change of preferred damper manufacturers | 2015-07-29 | Per J Jenkins and D Williams
56 | 23 06 06 | BACNET | 2.11 | Refrigerant Vapor Detaction section replaced by Refrigerant Leak Detection Monitors Section | 2015-07-29 | Per J Jenkins and D Williams
57 | 28 31 00 | Addressable Fire Alarm System | 2.11 | Corrects mis-posting: returns specifications to January 2015 format | 2015-11-02 | Per McDonald/McCloud